机构名称：瑞安市质量技术监督检测研究院

注册号：L2786

地  址：

A：浙江省瑞安市塘下镇罗凤办事处里北垟村

获准认可能力索引

| 序号 | 地址 | 能力范围 | 评审类型 | 更新时间 |
| --- | --- | --- | --- | --- |
| 1 | A | 授权签字人(中文) | 初评 | 2015年06月18日 |
| 2 |  | 授权签字人(英文) | 初评 | 2015年06月18日 |
| 3 | A | 检测能力(中文) | 初评 | 2015年06月18日 |
| 4 |  | 检测能力(英文) | 初评 | 2015年06月18日 |

# Name：Rui’an Institute of Testing For Quality and Technical Supervision

# Registration No.：L2786

ADDRESS：

# A: Libeiyang, Luofeng Sub-District, Tangxia, Ruian, Zhejiang, China

# INDEX OF ACCREDITED SIGNATORIES

| No. | Address | Range | Type | Update date |
| --- | --- | --- | --- | --- |
| 1 | A | Approved signatories (Chinese) | Initial assessment | 2015-06-18 |
| 2 |  | Approved signatories (English) | Initial assessment | 2015-06-18 |
| 3 | A | Testing ability(Chinese) | Initial assessment | 2015-06-18 |
| 4 |  | Testing ability(English) | Initial assessment | 2015-06-18 |

中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L2786）

名称:瑞安市质量技术监督检测研究院

地址：浙江省瑞安市塘下镇罗凤办事处里北垟村

签发日期：2015年06月18日        有效期至：2018年06月17日

附件1 认可的授权签字人及领域

| 序号 | 姓 名 | 授权签字领域 | 备 注 |
| --- | --- | --- | --- |
| 1 | 陈金鹤 | 汽车摩托车配件产品检测项目 |  |
| 2 | 黄长城 | 汽车摩托车配件产品检测项目 |  |
| 3 | 姜礼义 | 汽车摩托车配件产品检测项目 |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L2786)

NAME:Rui’an Institute of Testing For Quality and Technical Supervision

ADDRESS:Libeiyang, Luofeng Sub-District, Tangxia, Ruian, Zhejiang, China

Date of Issue:2015-06-18                      Date of Expiry:2018-06-17

APPENDIX 1   ACCREDITED SIGNATORIES AND SCOPE

| № | Name | Authorized Scope of Signature | Note |
| --- | --- | --- | --- |
| 1 | Chen Jinhe | Automobile motorcycle accessories product testing project |  |
| 2 | Huang Changcheng | Automobile motorcycle accessories product testing project |  |
| 3 | Jiang liyi | Automobile motorcycle accessories product testing project |  |

中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L2786）

名称:瑞安市质量技术监督检测研究院

地址：浙江省瑞安市塘下镇罗凤办事处里北垟村

认可依据：ISO/IEC 17025以及CNAS特定认可要求

签发日期：2015年06月18日         有效期至：2018年06月17日

附件2  认可的检测能力范围

| 序号 | 检测 对象 | 项目/参数 | 检测标准（方法）名称及编号（含年号） | 限制 范围 | 说明 |
| --- | --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |  |
| 1 | 汽车电气设备 | 1 | 噪声 | 旋转电机噪声测定方法及限值 第1部分：旋转电机噪声测定方法 GB/T 10069.1-2006 |  |  |
|  |  | 2 | 低温试验 | 电工电子产品环境试验 第2-1部分:试验方法 试验A:低温 GB/T 2423.1-2008/IEC 60068-2-1:2007 | 只测：≥-60°C |  |
| 1 | 汽车电气设备 | 3 | 高温试验 | 电工电子产品环境试验 第2部分:试验方法 试验B:高温 GB/T 2423.2-2008/IEC 60068-2-2:2007 | 只测≤90°C |  |
|  |  | 4 | 温度变化试验 | 电工电子产品环境试验 第2部分:试验方法 试验N:温度变化 GB/T 2423.22-2012/IEC 60068-2-14:2009 | 温度变化范围-60°90°C |  |
|  |  | 5 | 温度/湿度组合循环试验 | 电工电子产品环境试验 第2部分:试验方法 试验Z/AD:温度/湿度组合循环试验 GB/T 2423.34-2012/IEC 60068-2-38:2009 |  |  |
|  |  | 6 | 恒定湿热试验 | 电工电子产品环境试验 试验Cab:恒定湿热试验方法 GB/T 2423.3-2006 |  |  |
|  |  |  |  | 环境试验 第2-78部分:试验 试验Cab:恒定湿热 IEC 60068-2-78:2012 |  |  |
| 1 | 汽车电气设备 | 7 | 交变温热试验 | 电工电子产品环境试验 第2部分：试验方法 试验Db：交变温热（12h+12h循环） GB/T 2423.4-2008/IEC 60068-2-30:2005 |  |  |
| 1 | 汽车电气设备 | 8 | 振动试验 | 电工电子产品环境试验 第2部分:试验方法 试验Fc:振动(正弦) GB/T 2423.10-2008 |  |  |
|  |  |  |  | 电工电子产品环境试验 第2部分:试验方法 试验Fh：宽带随机振动（数字控制）和导则 GB/T 2423.56-2006 |  |  |
|  |  |  |  | 环境试验 第2-6部分: 试验Fc:振动(正弦) IEC 60068-2-6:2007 |  |  |
|  |  |  |  | 环境试验 第2-64部分:试验 试验Fh:振动、宽带随机和指南 IEC 60068-2-64:2008 |  |  |
|  |  | 9 | 盐雾试验 | 人造气氛腐蚀试验 盐雾试验 GB/T 10125-2012 |  |  |
|  |  |  |  | 金属基体上金属和其他无机覆盖层 经腐蚀试验后的试样和试件的评级 GB/T 6461-2002 |  |  |
|  |  |  |  | 汽车用涂镀层和化学处理层 QC/T 625-2013 |  |  |
|  |  |  |  | 轻工产品金属镀层和化学处理层的耐腐蚀试验方法 铜盐加速乙酸盐雾试验(CASS)法 QB/T 3828-1999 |  |  |
| 1 | 汽车电气设备 | 9 | 盐雾试验 | 轻工产品金属镀层和化学处理层的耐腐蚀试验方法 乙酸盐雾试验(ASS)法 QB/T 3827-1999 |  |  |
|  |  |  |  | 轻工产品金属镀层和化学处理层的耐腐蚀试验方法 中性盐雾试验(NSS)法 QB/T 3826-1999 |  |  |
|  |  |  |  | 电工电子产品环境试验 第2部分：试验方法 试验Ka:盐雾 GB/T 2423.17-2008/IEC 60068-2-11:1981 |  |  |
| 1 | 汽车电气设备 | 10 | 介电性能 | 低压开关设备和控制设备 第1部分：总则 GB 14048.1-2012 |  |  |
|  |  | 11 | 外壳防护等级 | 低压开关设备和控制设备 第1部分：总则 GB 14048.1-2012 |  |  |
|  |  |  |  | 外壳防护等级（IP代码） GB 4208-2008/IEC 60529:2001 |  |  |
|  |  | 12 | 电气干扰 | 道路车辆 由传导和耦合引起的电骚扰 第2部分：沿电源线的电瞬态传导 GB/T 21437.2-2008 |  |  |
|  |  |  |  | 道路车辆 由传导和耦合引起的电骚扰 第2部分：沿电源线的电瞬态传导 ISO 7637-2：2011 |  |  |
| 1 | 汽车电气设备 | 13 | 部分参数 | 汽车电器设备基本技术条件 QC/T 413-2002 | 只测噪声级、防护性能、耐温度性能、耐温度/湿度循环变化性能、耐振动性能、耐盐雾性能 |  |
| 2 | 汽车用开关 | 部分参数 |  | 汽车用开关通用技术条件 QC/T 198-2014 | 不测电磁兼容性能、有害物质含量、阻燃性要求、耐流动混合气体腐蚀试验、耐久性能 |  |
| 3 | 组合开关 | 全部参数 |  | 汽车用转向管柱上组合开关技术条件 QC/T 218-1996 |  |  |
| 4 | 翘板开关 | 全部参数 |  | 汽车用翘板式开关技术条件 QC/T 632-2000 |  |  |
| 5 | 带点火开关转向锁 | 全部参数 | 全部参数 | 汽车用带点火开关的转向锁 QC/T 628-1999 |  |  |
| 6 | 仪表灯开关 | 全部参数 |  | 汽车用仪表灯开关技术条件 QC/T 506-1999 |  |  |
| 7 | 汽车用车灯开关 | 全部参数 |  | 汽车用车灯开关技术条件 QC/T 505-1999 |  |  |
| 8 | 点火开关 | 全部参数 |  | 汽车用点火开关技术条件 QC/T 504-1999 |  |  |
| 9 | 机动车用喇叭 | 全部参数 |  | 机动车用喇叭的性能要求及试验方法 GB 15742-2001 |  |  |
|  |  | 部分参数 |  | 机动车用电喇叭技术条件 QC/T 30-2004 | 不测电磁兼容性 |  |
| 10 | 通用继电器 | 部分参数 |  | 汽车通用继电器 QC/T 695-2002 | 不测阻燃性能 |  |
| 11 | 喇叭继电器 | 全部参数 |  | 喇叭继电器技术条件 QC/T 419-1999 |  |  |
| 12 | 直流电机 | 1 | 绝缘电阻 | 直流电机试验方法 GB/T 1311-2008 |  |  |
|  |  | 2 | 冷态直流电阻 |  |  |  |
|  |  | 3 | 空载特性 |  |  |  |
|  |  | 4 | 额定负载试验 |  |  |  |
|  |  | 5 | 热试验 |  |  |  |
|  |  | 6 | 效率 |  |  |  |
|  |  | 7 | 短时过转矩试验 |  |  |  |
|  |  | 8 | 转速特性 |  |  |  |
| 12 | 直流电机 | 9 | 超速试验 | 直流电机试验方法 GB/T 1311-2008 |  |  |
|  |  | 10 | 短时升高电压 |  |  |  |
|  |  | 11 | 耐电压试验 |  |  |  |
| 13 | 刮水电机 | 全部参数 |  | 汽车用刮水电动机技术条件 QC/T 29090-1992 |  |  |
| 14 | 刮水器总成 | 部分参数 |  | 汽车风窗玻璃刮水器和洗涤器性能要求和试验方法 GB 15085-2013 | 不测洗涤器 |  |
|  |  |  |  | 汽车风窗玻璃电动刮水器 QC/T 44-2009 | 不测耐高温、耐低温、耐振性、电磁兼容性 |  |
| 15 | 暖风电机 | 全部参数 |  | 汽车用暖风电动机技术条件 QC/T 29092-1992 |  |  |
| 16 | 汽车用制动衬片 | 全部参数 |  | 汽车用制动器衬片 GB 5763-2008 |  |  |
| 17 | 汽车门锁及车门保持件 | 部分参数 |  | 汽车门锁及车门保持件的性能要求和试验方法 GB 15086-2013 | 不测门锁惯性载荷、滑动式车门门锁及保持件、门锁的锁止装置 |  |
| 17 | 汽车门锁及车门保持件 | 部分参数 | 部分参数 | 汽车门锁和车门保持件 QC/T 323-2007 | 不测门锁惯性载荷、滑动门保持件性能 |  |
| 18 | 汽车后视镜 | 部分参数 |  | 机动车辆后视镜的性能和安装要求 GB 15084-2013 | 不测除视镜外的间接视野装置、安装要求 |  |
|  |  |  |  | 汽车后视镜 QC/T 531-2001 | 不测耐候性 |  |
| 19 | 摩托车后视镜 | 全部参数 |  | 摩托车和轻便摩托车后视镜及其安装要求 GB 17352-2010 |  |  |
| 20 | 汽车玻璃升降器 | 全部参数 |  | 汽车玻璃升降器 QC/T 626-2008 |  |  |
| 21 | 汽车电动玻璃升降器 | 全部参数 |  | 汽车电动玻璃升降器 QC/T 636-2014 |  |  |
| 22 | 汽车用有刷电动燃油泵 | 部分项目 |  | 汽车电动燃油泵 第1部分：有刷电动燃油泵 GB/T 25984.1-2010 | 不测拧紧力矩、低压电线束、电磁骚扰 |  |
| 23 | 机油滤清器 | 1 | 压差-流量特性 | 内燃机全流式机油滤清器试验方法 第1部分：压差-流量特性 GB/T 8243.1-2003/ISO 4548:1-1997 |  |  |
|  |  |  |  | 机油滤清器试验方法 SAE HS-806-2009 |  |  |
|  |  | 2 | 滤芯旁通元件特性 | 内燃机全流式机油滤清器试验方法 第2部分：滤芯旁通阀特性 GB/T 8243.2-2003/ISO 4548:2-1997 |  |  |
|  |  |  |  | 机油滤清器试验方法 SAE HS-806-2009 |  |  |
|  |  | 3 | 高压降特性 | 内燃机全流式机油滤清器试验方法 第3部分：耐高压差和耐高温特性 GB/T 8243.3-2003/ISO 4548:3-1997 |  |  |
|  |  | 4 | 高温特性 |  |  |  |
|  |  | 5 | 原始滤清效率 | 内燃机全流式机油滤清器试验方法 第4部分：原始滤清效率、寿命和累积效率(重量法) GB/T 8243.4-2003/ISO 4548:4-1997 |  |  |
|  |  | 6 | 寿命和累计效率 |  |  |  |
| 23 | 机油滤清器 | 7 | 冷起动模拟试验 | 内燃机全流式机油滤清器试验方法 第5部分：冷起动模拟和液压脉冲耐久试验 GB/T 8243.5-2006/ISO 4548:5-1990 |  |  |
|  |  | 8 | 液压脉冲耐久试验 |  |  |  |
|  |  | 9 | 静压耐破度 | 内燃机全流式机油滤清器试验方法 第6部分：冷压耐破度试验 GB/T 8243.6-2006/ISO 4548:6-1985 |  |  |
|  |  | 10 | 进口和出口止回阀试验 | 内燃机全流式机油滤清器试验方法 第9部分：进、出口止回阀试验 GB/T 8243.9-2012/ISO 4548:9-1995 |  |  |
|  |  |  |  | 机油滤清器试验方法 SAE HS-806-2009 |  |  |
|  |  | 11 | 全流滤清器的容尘能力 | 机油滤清器试验方法 SAE HS-806-2009 |  |  |
|  |  | 12 | 全流滤清器的过滤特性 |  |  |  |
|  |  | 13 | 清洁度 | 机油滤清器试验方法 SAE HS-806-2009 |  |  |
|  |  |  |  | 中小功率内燃机清洁度测定方法 GB/T 3821-2005 |  |  |
| 23 | 机油滤清器 | 14 | 机油中水对滤清器性能影响 | 机油滤清器试验方法 SAE HS-806-2009 |  |  |
|  |  | 15 | 旋装滤清器密封垫片的低温密封性 | 机油滤清器试验方法 SAE HS-806-2009 |  |  |
|  |  | 16 | 滤清效率 | 内燃机全流式机油滤清器试验方法 第12部分：采用颗粒计数法测定滤清效率和容灰量 GB/T 8243.12-2007/ISO 4548:12-2000 |  |  |
|  |  | 17 | 容灰量 |  |  |  |
| 24 | 旋装式机油滤清器 | 全部参数 |  | 内燃机 旋装式机油滤清器 第2部分：试验方法 JB/T 5088.2-2008 |  |  |
|  |  |  |  | 内燃机 旋装式机油滤清器 第1部分：技术条件 JB/T 5088.1-2008 |  |  |
| 25 | 机油滤清器总成 | 全部参数 |  | 内燃机纸质滤芯机油滤清器 第3部分：试验方法 JB/T 5089.3-2010 |  |  |
|  |  |  |  | 内燃机 旋装式机油滤清器 第1部分：技术条件 JB/T 5088.1-2008 |  |  |
| 26 | 机油滤清器滤芯 | 全部参数 |  | 内燃机纸质滤芯机油滤清器 第3部分：试验方法 JB/T 5089.3-2010 |  |  |
| 26 | 机油滤清器滤芯 | 全部参数 | 全部参数 | 内燃机 纸质滤芯机油滤清器 第2部分：滤芯 技术条件 JB/T 5089.2-2010 |  |  |
| 27 | 柴油滤清器 | 1 | 密封性 | 汽车用柴油滤清器试验方法 QC/T 772-2006 |  |  |
|  |  |  |  | 柴油滤清器试验方法 SAE J905-2009 |  |  |
|  |  |  |  | 汽车柴油机纸质滤芯柴油细滤器总成技术条件QC/T 771-2006 |  |  |
|  |  | 2 | 清洁度 | 汽车用柴油滤清器试验方法 QC/T 772-2006 |  |  |
|  |  |  |  | 柴油滤清器试验方法 SAE J905-2009 |  |  |
|  |  |  |  | 道路车辆-柴油机用燃油滤清器试验方法 ISO 4020-2001 |  |  |
|  |  |  |  | 汽车柴油机纸质滤芯柴油细滤器总成技术条件 QC/T 771-2006 |  |  |
| 27 | 柴油滤清器 | 3 | 原始阻力 (流量阻力) | 汽车用柴油滤清器试验方法 QC/T 772-2006 |  |  |
|  |  |  |  | 柴油滤清器试验方法 SAE J905-2009 |  |  |
|  |  |  |  | 道路车辆-柴油机用燃油滤清器试验方法 ISO 4020-2001 |  |  |
| 27 | 柴油滤清器 | 3 | 原始阻力 (流量阻力) | 汽车柴油机纸质滤芯柴油细滤器总成技术条件 QC/T 771-2006 |  |  |
|  |  | 4 | 原始滤清效率 | 汽车用柴油滤清器试验方法 QC/T 772-2006 |  |  |
|  |  |  |  | 汽车柴油机纸质滤芯柴油细滤器总成技术条件 QC/T 771-2006 |  |  |
|  |  | 5 | 储灰能力 | 汽车用柴油滤清器试验方法 QC/T 772-2006 |  |  |
|  |  |  |  | 柴油滤清器试验方法 SAE J905-2009 |  |  |
|  |  |  |  | 汽车柴油机纸质滤芯柴油细滤器总成技术条件 QC/T 771-2006 |  |  |
|  |  | 6 | 瞬间过滤效率和寿命 | 道路车辆-柴油机用燃油滤清器试验方法 ISO 4020-2001 |  |  |
|  |  | 7 | 水分离效率 (游离水) | 汽车用柴油滤清器试验方法 QC/T 772-2006 |  |  |
|  |  |  |  | 游离水/燃油分离试验方法 SAE J1839-2010 |  |  |
|  |  |  |  | 汽车柴油机纸质滤芯柴油细滤器总成技术条件 QC/T 771-2006 |  |  |
|  |  | 8 | 水分离效率 (乳化水) | 分离燃油中乳化水的试验方法 SAE J1488-2010 |  |  |
| 27 | 柴油滤清器 | 9 | 滤芯耐压性能 | 汽车用柴油滤清器试验方法 QC/T 772-2006 |  |  |
| 27 | 柴油滤清器 | 9 | 滤芯耐压性能 | 柴油滤清器试验方法 SAE J905-2009 |  |  |
|  |  |  |  | 道路车辆-柴油机用燃油滤清器试验方法 ISO 4020-2001 |  |  |
|  |  |  |  | 汽车柴油机纸质滤芯柴油细滤器总成技术条件 QC/T 771-2006 |  |  |
|  |  | 10 | 总成耐破损性能 | 汽车用柴油滤清器试验方法 QC/T 772-2006 |  |  |
|  |  |  |  | 柴油滤清器试验方法 SAE J905-2009 |  |  |
|  |  |  |  | 道路车辆-柴油机用燃油滤清器试验方法 ISO 4020-2001 |  |  |
|  |  |  |  | 汽车柴油机纸质滤芯柴油细滤器总成技术条件 QC/T 771-2006 |  |  |
|  |  | 11 | 总成耐液力脉冲疲劳性能 | 汽车用柴油滤清器试验方法 QC/T 772-2006 |  |  |
|  |  |  |  | 柴油滤清器试验方法 SAE J905-2009 |  |  |
|  |  |  |  | 道路车辆-柴油机用燃油滤清器试验方法 ISO 4020-2001 |  |  |
|  |  |  |  | 汽车柴油机纸质滤芯柴油细滤器总成技术条件 QC/T 771-2006 |  |  |
| 27 | 柴油滤清器 | 12 | 环境适应能力(水对容尘能力影响) | 柴油滤清器试验方法 SAE J905-2009 |  |  |
|  |  | 13 | 真空度试验 | 柴油滤清器试验方法 SAE J905-2009 |  |  |
|  |  | 14 | 原油中含水量测定 | 原油水含量测定 卡尔·费休库仑滴定法 GB/T 11146-2009 |  |  |
|  |  | 15 | 采用粒子计数法测定滤清效率和杂质储存能力 | 内燃机柴油滤清器和汽油滤清器-采用粒子计数法测定滤清器和杂质储存能力 ISO 19438-2003 |  |  |
| 28 | 旋装式柴油滤清器 | 全部参数 |  | 柴油机 柴油滤清器 第4部分：试验方法 JB/T 5239.4-2011 |  |  |
|  |  |  |  | 旋装式柴油滤清器 技术条件 JB/T 5241-2006 |  |  |
| 29 | 柴油机柴油滤清器总成 | 全部参数 |  | 柴油机 柴油滤清器 第4部分：试验方法 JB/T 5239.4-2011 |  |  |
|  |  |  |  | 柴油机 柴油滤清器 第1部分：纸质滤芯总成 技术条件 JB/T 5239.1-2008 |  |  |
| 30 | 柴油机柴油滤清器滤芯 | 全部参数 |  | 柴油机 柴油滤清器 第4部分：试验方法 JB/T 5239.4-2011 |  |  |
| 30 | 柴油机柴油滤清器滤芯 | 全部参数 | 全部参数 | 柴油机 柴油滤清器 第2部分：纸质滤芯 技术条件 JB/T 5239.2-2008 |  |  |
| 31 | 汽车电喷汽油机汽油滤清器总成 | 部分项目 |  | 汽车用汽油滤清器试验方法 QC/T 918-2013 | 不测总成耐振动疲劳性能 |  |
|  |  |  |  | 汽车电喷汽油机汽油滤清器总成技术条件 QC/T 48-2013 |  |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L2786)

NAME:Rui’an Institute of Testing For Quality and Technical Supervision

ADDRESS:Libeiyang, Luofeng Sub-District, Tangxia, Ruian, Zhejiang, China

Accreditation Criteria:ISO/IEC 17025 and relevant requirements of CNAS

Date of Issue:2015-06-18                      Date of Expiry:2018-06-17

APPENDIX 2  ACCREDITED TESTING

| № | Test Object | Item/Parameter | Title, Code of Standard or Method | Limitation | Note |
| --- | --- | --- | --- | --- | --- |
|  |  | № | Item/ Parameter |  |  |  |
| 1 | Electric equipments for Motor vehicles | 1 | Noise test | Measurement of the airborne noise emitted by rotating electrical machines and the noise limits Part 1:Method of the measurement of airborne noise emitted by rotating electrical machines GB/T 10069.1-2006/IEC 60068-2-1:2007 |  |  |
| 1 | Electric equipments for Motor vehicles | 2 | Low-temperature test | Environmental testing for electric and electronic products-Part 2:Test mehtod-Test A: Cold GB/T 2423.1-2008 |  |  |
|  |  | 3 | high-temperature test | Environmental testing for electric and electronic products-Part 2:Test mehtod-Test B: Dry heat GB/T 2423.2-2008/IEC 60068-2-2:2007 |  |  |
| 1 | Electric equipments for Motor vehicles | 4 | Change of temperature test | Environmental testing. Part 2:Test methods. Test N:Change of temperature GB/T 2423.22-2012 |  |  |
|  |  |  |  | Environmental testing.Part 2-14: Tests.Test N: Change of temperature IEC60068-2-14:2009 |  |  |
| 1 | Electric equipments for Motor vehicles | 5 | Composite temperature/humidity cyclic test | Environmental testing. Part 2:Test methods. Test Z/AD:Composite temperature/humidity cyclic test GB/T 2423.34-2012/IEC 60068-2-38:2009 |  |  |
|  |  | 6 | Constant damp heat test | Environmental testing for electric and electronic products. Part 2:Testing method. Test Cab:Damp heat,steady state GB/T 2423.3-2006/IEC 60068-2-78:2012 |  |  |
|  |  | 7 | Cyclic damp heat test | Environmental testing for electric and electronic products-Part 2:Test mehtod-Test Db: Damp heat,cyclic(12h+12h cycle) GB/T 2423.4-2008/IEC 60068-2-30:2005 |  |  |
| 1 | Electric equipments for Motor vehicles | 8 | Vibration test | Environmental testing for electric and electronic products-Part 2:Tests methods Test Fc: Vibration(sinusoidal) GB/T 2423.10-2008 |  |  |
|  |  |  |  | Environmental testing for electric and electronic products-Part 2:Test methods-Test Fh:Vibration,broad-band random(digital control)and guidance GB/T 2423.56-2006 |  |  |
|  |  |  |  | Environmental testing.Part 2-6: Test Fc: Vibration (sinusoidal) IEC 60068-2-6:2007 |  |  |
|  |  |  |  | Environmental testing.Part 2-64: Tests.Test Fh: Vibration, broadband random and guidance IEC 60068-2-64:2008 |  |  |
| 1 | Electric equipments for Motor vehicles | 9 | Salt mist test | Corrosion tests in artificial atmospheres-Salt spray tests GB/T 10125-2012 |  |  |
| 1 | Electric equipments for Motor vehicles | 9 | Salt mist test | Methods for corrosion testing of metallic and other inorganic coatings on metallic substrates –Rating of test specimens and manufactured articles subjected to corrosion tests GB/T 6461-2002 |  |  |
|  |  |  |  | Metallic coatings and conversion coatings for automobile QC/T 625-2013 |  |  |
|  |  |  |  | Corrosion-resistant testing method of the metal deposits and conversion coatings for the light industrial products Copper accelerated salt spray test(CASS) QB/T 3828-1999 |  |  |
| 1 | Electric equipments for Motor vehicles | 9 | Salt mist test | Corrosion-resistant testing method of the metal deposits and conversion coatings for the light industrial products Acetic salt spraying test (ASS) QB/T 3827-1999 |  |  |
| 1 | Electric equipments for Motor vehicles | 9 | Salt mist test | Corrosion-resistant testing method of the metal deposits and conversion coatings for the light industrial products Neutral salt spraying test (NSS) QB/T 3826-1999 |  |  |
|  |  |  |  | Environmental testing for electric and electronic products.Part 2:Test. mehtod-Test Ka: Salt mist GB/T 2423.17-2008/IEC 60068-2-11:1981 |  |  |
|  |  | 10 | Dielectric strength test | Low-voltage switchgear and controlgear-Part 1:General rules GB14048.1-2012 |  |  |
| 1 | Electric equipments for Motor vehicles | 11 | Shell protection class | Low-voltage switchgear and controlgear-Part 1:General rules GB 14048.1-2012 |  |  |
|  |  |  |  | Degress of protection provided by enclosure （IP code） GB 4208-2008/IEC 60529:2001 |  |  |
|  |  | 12 | Electrical transient | Road vehicles-Electrical disturbances from conduction and coupling-Part 2:Electrical rtansient conduction along supply lines only GB/T 21437.2-2008 |  |  |
| 1 | Electric equipments for Motor vehicles | 12 | Electrical transient | Road vehicles — Electrical disturbances from conduction and coupling — Part 2 Electrical transient conduction along supply lines only ISO 7637-2：2011 |  |  |
| 1 | Electric equipments for Motor vehicles | 13 | Part of Parameters | Motor vehicles-Electric equipments - Basic technical requirements QC/T 413-2002 | Only for Noise level、Protection performance 、Temperature and humidity cycling resistance properties、Vibration resistance performance 、Salt spray resistance |  |
| 2 | automotive switch | Part of Parameters |  | General technical specification for automotive switch QC/T 198-2014 | Expected for Electromagnetic compatibility、The content of harmful substances、Flame retardant requirements、Resistance to flowing mixed gas corrosion test、Durability |  |
| 3 | Combination switch | All Parameters | All Parameters | Motor vehicles-Combination switch on steering column - Technical requirements QC/T 218-1996 |  |  |
| 4 | Rocker switches | All Parameters |  | Motor vehicles －Rocker Switches－Technical requirements QC/T 632-2000 |  |  |
| 5 | Steering locks with ignition switch | All Parameters |  | Motor vehicles-Steering locks with ignition switch QC/T 628-1999 |  |  |
| 6 | Meter lamp switch | All Parameters |  | Motor vehicles-Meter lamp switch - Technical requirements QC/T 506-1999 |  |  |
| 7 | Motor vehicles used Lamp switch | All Parameters |  | Motor vehicles-Lamp switch - Technical requirements QC/T 505-1999 |  |  |
| 8 | Ignition switch | All Parameters |  | Motor vehicles-Ignition switch –Technical requirements QC/T 504-1999 |  |  |
| 9 | Automobile horn | All Parameters | All Parameters | Automobile- Electric horn- Performance requirements and test methods GB 15742-2001 |  |  |
|  |  | Part of Parameters |  | Technical specification of electric horn for motor vehicles QC/T 30-2004 | Expected for EMC |  |
| 10 | General relay | Part of Parameters |  | General relay for motor vehicles QC/T 695-2002 | Expected for Flame retardant properties |  |
| 11 | Horn relay | All Parameters |  | Technical requirements of horn relay QC/T 419-1999 |  |  |
| 12 | direct current machines | 1 | Insulation resistance | Test procedure for direct current machines GB/T 1311-2008 |  |  |
|  |  | 2 | Cold resistance |  |  |  |
|  |  | 3 | No-load characteristics |  |  |  |
|  |  | 4 | Rated load test |  |  |  |
|  |  | 5 | Temperature rise test |  |  |  |
| 12 | direct current machines | 6 | Efficiency test | Test procedure for direct current machines GB/T 1311-2008 |  |  |
|  |  | 7 | Over torque test |  |  |  |
|  |  | 8 | Speed characteristic |  |  |  |
|  |  | 9 | Overspeed test |  |  |  |
|  |  | 10 | Voltage test |  |  |  |
|  |  | 11 | Withstand voltage test |  |  |  |
| 13 | Wiper motor | All Parameters |  | Motor vehicles-Wiper motor-Technical requirements QC/T 29090-1992 |  |  |
| 14 | Wiper Scrubber-Performance | Part of Parameters |  | Automobile Wind Windowpane Wiper Scrubber-Performance Requirement and Test Method GB/T 15085-2013 | Expected for Wiper Scrubber |  |
|  |  |  |  | Vehicle-windshield Window Wiper of motor QC/T 44-2009 | Expected for High temperature、 Low temperature、Vibration test、EMC |  |
| 15 | Heater motor | All Parameters | All Parameters | Motor vehicles-Heater motor-Technical requirements QC/T 29092-1992 |  |  |
| 16 | Automobile Braker Gasket | All Parameters |  | Automobile Braker Gasket GB 5763-2008 |  |  |
| 17 | Door locks and door retention | Part of Parameters |  | Motor vehicles - Door locks and door retention components - Performance requirements and test methods GB 15086-2013 | Expected for Sliding door lock、Inertial load test、Sliding door retention component、locking device of door lock |  |
|  |  |  |  | Motor vehicles- Door locks and door retention components QC/T 323-2007 | Expected for Sliding door lock、Inertial load test、Sliding door retention component |  |
| 18 | Automobile Rear View Mirrors | Part of Parameters |  | Motor vehicles-Rear view mirrors-Requirements of performance and installation GB15084-2013 | Except for devices for indirect vision, installation requirements |  |
| 18 | Automobile Rear View Mirrors | Part of Parameters | Part of Parameters | Automobile Rear View Mirrors QC/T 531-2001 | Except for Weather resistance |  |
| 19 | Motorcycle Rear View Mirrors | All Parameters |  | Motorcycles and mopeds rear-view-mirrors requirement of performance and installation GB 17352-2010 |  |  |
| 20 | Motor vehicles-Window lift | All Parameters |  | Motor vehicles-Window lift QC/T 626-2008 |  |  |
| 21 | Motor vehicles-Electric window lift | All Parameters |  | Motor vehicles-Electric window lift QC/T 636-2014 |  |  |
| 22 | Brush's eletric fuel pump | Part of item |  | Automobiles electric fuel pump-Part 1: Brush's eletric fuel pump GB/T 25984.1-2010 | Expected for Tightening torque，Low-voltage electrical wiring harness and EMC |  |
| 23 | Oil filter | 1 | Differential pressure/flow characteristics | Methods of test for full-flow lubricating oil filters for interal combustion engines-part1:Differential pressure/flow characteristics GB/T 8243.1-2003/ISO 4548:1-1997 |  |  |
|  |  |  |  | Oil Test Procedure SAE HS-806-2009 |  |  |
|  |  | 2 | Element by-pass value characteristics | Methods of test for full-flow lubricating oil filters for interal combustion engines-part2:Element by-pass value characteristics GB/T 8243.2-2003/ISO 4548:2-1997 |  |  |
|  |  |  |  | Oil Test Procedure SAE HS-806-2009 |  |  |
| 23 | Oil filter | 3 | Resistance to high differential pressure | Methods of test for full-flow lubricating oil filters for interal combustion engines-part 3:Resistance to high differential pressure and to elevated temperature GB/T 8243.3-2003/ISO 4548:3-1997 |  |  |
|  |  | 4 | To elevated temperature |  |  |  |
| 23 | Oil filte | 5 | Initial particle retention efficiency | Methods of test for full-flow lubricating oil filters for interal combustion engines-part 4:Initial particle retention efficiency,life,and cumulative efficiency(gravimetric method) GB/T 8243.4-2003/ISO 4548:4-1997 |  |  |
|  |  | 6 | Life,and cumulative efficiency(grav-imetric method) |  |  |  |
| 23 | Oil filte | 7 | Cold start simulation | Methods of test for full-flow lubricating oil filters for interal combustion engines-part 5:Cold start simulation and hydraulic pulse durability test GB/T 8243.5-2006/ISO 4548:5-1990 |  |  |
|  |  | 8 | Hydraulic pulse durability test |  |  |  |
|  |  | 9 | Static bust pressure test | Methods of test for full-flow lubricating oil filters for interal combustion engines-part 6:Static bust pressure test GB/T 8243.6-2006/ISO 4548:6-1985 |  |  |
| 23 | Oil filte | 10 | Inlet and outlet anti-drain values test | Methods of test for full-flow lubricating oil filters for interal combustion engines-part 9:Inlet and outlet anti-drain values test GB/T 8243.9-2012/ISO 4548:9-1995 |  |  |
| 23 | Oil filte | 10 | Inlet and outlet anti-drain values test | Oil Test Procedure SAE HS-806-2009 |  |  |
|  |  | 11 | Filter Capacity Characteristics of Full-Flow Filters | Oil Test Procedure SAE HS-806-2009 |  |  |
|  |  | 12 | Contaminant Removal Characteristics of Full-Flow Filters |  |  |  |
|  |  | 13 | Media Migration Test | Oil Test Procedure SAE HS-806-2009 |  |  |
|  |  |  |  | Determination of cleanliness for small and medium power internal combustion engines GB/T 3821-2005 |  |  |
| 23 | Oil filter | 14 | Test Method for Effect of Water in the Oil on Filter Capacity | Oil Test Procedure SAE HS-806-2009 |  |  |
| 23 | Oil filter | 15 | Low-Temperature Sealing Characteristics of Spin-On Oil Filter Sealing Gaskets | Oil Test Procedure SAE HS-806-2009 |  |  |
|  |  | 16 | Filtration efficiency | Methods of test for full-flow lubricating oil filters for internal combustion engines -- Part 12: Filtration efficiency using particle counting and contaminant retention capacity GB/T 8243.12-2007/ISO 4548:12-2000 |  |  |
|  |  | 17 | Contaminant retention capacity |  |  |  |
| 24 | Spin-on oil filter | All Parameters |  | Internal combustion engines — spin-on oil filters — Part 2: Test method JB/T5088.2-2008 |  |  |
|  |  |  |  | Internal combustion engines — spin-on oil filters — Part 1:Specification JB/T5088.1-2008 |  |  |
| 25 | Oil filter assemblies | All Parameters | All Parameters | Internal combustion engines — Paper- element oil filters — Part 3: test method JB/T 5089.3-2010 |  |  |
|  |  |  |  | Internal combustion engines — spin-on oil filters — Part 1:Specification JB/T 5088.1-2008 |  |  |
| 26 | Elements of oil filters | All Parameters |  | Internal combustion engines — Paper- element oil filters — Part 3: test method JB/T 5089.3-2010 |  |  |
|  |  |  |  | Internal combustion engines — Paper- element oil filters — Part 2: Elements— Speeification JB/T 5089.2-2010 |  |  |
| 27 | Fuel Filter | 1 | Seal Test | Test method of diesel-fuel filter for automobiles QC/T 772-2006 |  |  |
|  |  |  |  | Fuel Filter Test Methods SAE J905-2009 |  |  |
| 27 | Fuel Filter | 1 | Seal Test | Specification fo diesel-fuel fine assembly with paper element for automotive diesels QC/T 771-2006 |  |  |
|  |  | 2 | Media Migration Test | Test method of diesel-fuel filter for automobiles QC/T 772-2006 |  |  |
|  |  |  |  | Fuel Filter Test Methods SAE J905-2009 |  |  |
|  |  |  |  | Road vehicles - Fuel filters for diesel engines - Test methods ISO 4020-2001 |  |  |
|  |  |  |  | Specification fo diesel-fuel fine assembly with paper element for automotive diesels QC/T 771-2006 |  |  |
| 27 | Fuel Filter | 3 | Resistance to Flow | Test method of diesel-fuel filter for automobiles QC/T 772-2006 |  |  |
|  |  |  |  | Fuel Filter Test Methods SAE J905-2009 |  |  |
|  |  |  |  | Road vehicles - Fuel filters for diesel engines - Test methods ISO 4020-2001 |  |  |
| 27 | Fuel Filter | 3 | Resistance to Flow | Specification fo diesel-fuel fine assembly with paper element for automotive diesels QC/T 771-2006 |  |  |
|  |  | 4 | Primal Efficiency Test | Test method of diesel-fuel filter for automobiles QC/T 772-2006 |  |  |
|  |  |  |  | Specification fo diesel-fuel fine assembly with paper element for automotive diesels QC/T 771-2006 |  |  |
|  |  | 5 | Contaminant Retention Capacity | Test method of diesel-fuel filter for automobiles QC/T 772-2006 |  |  |
|  |  |  |  | Fuel Filter Test Methods SAE J905-2009 |  |  |
|  |  |  |  | Specification fo diesel-fuel fine assembly with paper element for automotive diesels QC/T 771-2006 |  |  |
|  |  | 6 | filtration efficiency and filter life | Road vehicles - Fuel filters for diesel engines - Test methods ISO 4020-2001 |  |  |
| 27 | Fuel Filter | 7 | Coarse Droplet Water/Fuel Separation | Test method of diesel-fuel filter for automobiles QC/T 772-2006 |  |  |
|  |  |  |  | Coarse Droplet Water/Fuel Separation Test Procedure SAE J1839-2010 |  |  |
|  |  |  |  | Specification fo diesel-fuel fine assembly with paper element for automotive diesels QC/T 771-2006 |  |  |
|  |  | 8 | Emulsified Water/Fuel Separation | Emulsified Water/Fuel Separation Test Procedure SAE J1488-2010 |  |  |
|  |  | 9 | Collapse/burst pressure of filter element | Test method of diesel-fuel filter for automobiles QC/T 772-2006 |  |  |
|  |  |  |  | Fuel Filter Test Methods SAE J905-2009 |  |  |
|  |  |  |  | Road vehicles - Fuel filters for diesel engines - Test methods ISO 4020-2001 |  |  |
| 27 | Fuel Filter | 9 | Collapse/burst pressure of filter element | Specification fo diesel-fuel fine assembly with paper element for automotive diesels QC/T 771-2006 |  |  |
| 27 | Fuel Filter | 10 | Burst pressure of complete filter | Test method of diesel-fuel filter for automobiles QC/T 772-2006 |  |  |
|  |  |  |  | Fuel Filter Test Methods SAE J905-2009 |  |  |
|  |  |  |  | Road vehicles - Fuel filters for diesel engines - Test methods ISO 4020-2001 |  |  |
|  |  |  |  | Specification fo diesel-fuel fine assembly with paper element for automotive diesels QC/T 771-2006 |  |  |
|  |  | 11 | Pulsating pressure fatigue test | Test method of diesel-fuel filter for automobiles QC/T 772-2006 |  |  |
|  |  |  |  | Fuel Filter Test Methods SAE J905-2009 |  |  |
| 27 | Fuel Filter | 11 | Pulsating pressure fatigue test | Road vehicles - Fuel filters for diesel engines - Test methods ISO 4020-2001 |  |  |
|  |  |  |  | Specification fo diesel-fuel fine assembly with paper element for automotive diesels QC/T 771-2006 |  |  |
| 27 | Fuel Filter | 12 | the Effect of Water in Fuel on Filter Capacity | Fuel Filter Test Methods SAE J905-2009 |  |  |
|  |  | 13 | Vacuum Test | Fuel Filter Test Methods SAE J905-2009 |  |  |
|  |  | 14 | Crude petroleum-Determanation of water | Crude petroleum-Determanation of water-Coulometric Karl Fischer titration method GB/T 11146-2009 |  |  |
| 27 | Fuel Filter | 15 | Filtration efficiency using particle counting and contaminant retention capacity | Diesel fuel and petrol filters for internal combustion engines - Filtration efficiency using particle counting and contaminant retention capacity ISO 19438-2003 |  |  |
| 28 | Spin-on diesel filters | All Parameters |  | Diesel engines—Diesel filters—Part 4:test method JB/T 5239.4-2011 |  |  |
|  |  |  |  | Spin-on diesel filters — Specification JB/T 5241-2006 |  |  |
| 29 | Diesel filter assemblies of Diesel engines | All Parameters |  | Diesel engines—Diesel filters—Part 4:test method JB/T 5239.4-2011 |  |  |
|  |  |  |  | Diesel engines — Diesel filters— Part 1： Paper element assembly — Specification JB/T 5239.1-2008 |  |  |
| 30 | Diesel filter Elements of Diesel engines | All Parameters |  | Diesel engines—Diesel filters—Part 4:test method JB/T 5239.4-2011 |  |  |
| 30 | Diesel filter Elements of Diesel engines | All Parameters | All Parameters | Diesel engines — Diesel filters— Part 2： Paper elements — Specification JB/T5239.2-2008 |  |  |
| 31 | Gasoline filter | Part of item |  | Test methods of petrol filter foe automobiles QC/T 918-2013 | Expected for Vibration test |  |
|  |  |  |  | Specifications of petrol filter assembly for automotive engines with electronically controlled petrol injection system QC/T 48-2013 |  |  |

中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L2786）

名称:瑞安市质量技术监督检测研究院

地址：浙江省瑞安市塘下镇罗凤办事处里北垟村

签发日期：2016年08月15日      有效期至：2018年06月17日

附件1认可的实验室关键场所一览表

| 关键场所 | 地址代码 | 地址/邮编 | 设施特点 | 主要活动 | 说明 |
| --- | --- | --- | --- | --- | --- |
|  | A | 浙江省瑞安市塘下镇罗凤办事处里北垟村/325204 | Ⅰ | (1)(3)(4)(5) |  |

注：

1. 设施特点包括I 固定、II 离开固定设施、III临时、IV可移动、V其他。

2. 主要活动包括（1）检测、（2）校准、（3）签发报告/证书、（4）样品接收、（5）合同评审、（6）其他。

3. “设施特点”和“主要活动”栏应填写第1、2条的代码，可复选，选择其他时，应标注具体内容。

4. 现场评审时，如有地址变更或增加新地址的，在“备注”栏注明“新增”、“变更”字样。

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

SCHEDULE OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L2786)

NAME:Rui’an Institute of Testing For Quality and Technical Supervision

ADDRESS:Libeiyang, Luofeng Sub-District, Tangxia, Ruian, Zhejiang, China

Date of Issue:2016-08-15                      Date of Expiry:2018-06-17

SCHEDULE 1  ACCREDITED KEY LOCATIONS OF THE LABORATORY

| Locations Specified | Location Code | Address/Postal Code | Facilities Characteristics | Activity | Note |
| --- | --- | --- | --- | --- | --- |
|  | A | Libeiyang, Luofeng Sub-District, Tangxia, Ruian, Zhejiang, China /325204 | Ⅰ | (1)(3)(4)(5) |  |

Note:

- Facilities Characteristics I: Fixed Facilities, II: Out of Fixed Facilities, III: Temporary Facilities, IV: Mobile Facilities, V: Others.

- Activity (1): Testing, (2): Calibration, (3): Issue of Reports/Certificates, (4): Sample Receiving, (5): Contract Review, (6): Others.

中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L2786）

名称:瑞安市质量技术监督检测研究院

地址：浙江省瑞安市塘下镇罗凤办事处里北垟村

认可依据：ISO/IEC 17025以及CNAS特定认可要求

签发日期：2016年08月15日     有效期至：2018年06月17日

附件3  认可的检测能力范围

| 序号 | 检测 对象 | 项目/参数 | 检测标准（方法） | 说明 |
| --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |
| 1 | 汽车电气设备 | 1 | 噪声 | 旋转电机噪声测定方法及限值 第1部分：旋转电机噪声测定方法 GB/T 10069.1-2006 |  |
|  |  | 2 | 低温试验 | 电工电子产品环境试验 第2-1部分:试验方法 试验A:低温 GB/T 2423.1-2008/IEC 60068-2-1:2007 | 只测≥-60℃ |
|  |  | 3 | 高温试验 | 电工电子产品环境试验 第2部分:试验方法 试验B:高温 GB/T 2423.2-2008/IEC 60068-2-2:2007 | 只测≤90℃ |
|  |  | 4 | 温度变化试验 | 电工电子产品环境试验 第2部分:试验方法 试验N:温度变化 GB/T 2423.22-2012/IEC 60068-2-14:2009 | 温度变化范围-60℃~90℃ |
|  |  | 5 | 温度/湿度组合循环试验 | 电工电子产品环境试验 第2部分:试验方法 试验Z/AD:温度/湿度组合循环试验 GB/T 2423.34-2012/IEC 60068-2-38:2009 |  |
| 1 | 汽车电气设备 | 6 | 恒定湿热试验 | 电工电子产品环境试验 试验Cab:恒定湿热试验方法 GB/T 2423.3-2006 |  |
|  |  |  |  | 环境试验 第2-78部分:试验 试验Cab:恒定湿热 IEC 60068-2-78:2012 |  |
| 1 | 汽车电气设备 | 7 | 交变温热试验 | 电工电子产品环境试验 第2部分：试验方法 试验Db：交变温热（12h+12h循环） GB/T 2423.4-2008/IEC 60068-2-30:2005 |  |
|  |  | 8 | 振动试验 | 电工电子产品环境试验 第2部分:试验方法 试验Fc:振动(正弦) GB/T 2423.10-2008 |  |
|  |  |  |  | 电工电子产品环境试验 第2部分:试验方法 试验Fh：宽带随机振动（数字控制）和导则 GB/T 2423.56-2006 |  |
|  |  |  |  | 环境试验 第2-6部分: 试验Fc:振动(正弦) IEC 60068-2-6:2007 |  |
|  |  |  |  | 环境试验 第2-64部分:试验 试验Fh:振动、宽带随机和指南 IEC 60068-2-64:2008 |  |
|  |  | 9 | 盐雾试验 | 人造气氛腐蚀试验 盐雾试验 GB/T 10125-2012 |  |
|  |  |  |  | 金属基体上金属和其他无机覆盖层 经腐蚀试验后的试样和试件的评级 GB/T 6461-2002 |  |
|  |  |  |  | 汽车用涂镀层和化学处理层 QC/T 625-2013 |  |
| 1 | 汽车电气设备 | 9 | 盐雾试验 | 轻工产品金属镀层和化学处理层的耐腐蚀试验方法 铜盐加速乙酸盐雾试验(CASS)法 QB/T 3828-1999 |  |
|  |  |  |  | 轻工产品金属镀层和化学处理层的耐腐蚀试验方法 乙酸盐雾试验(ASS)法 QB/T 3827-1999 |  |
|  |  |  |  | 轻工产品金属镀层和化学处理层的耐腐蚀试验方法 中性盐雾试验(NSS)法 QB/T 3826-1999 |  |
|  |  |  |  | 电工电子产品环境试验 第2部分：试验方法 试验Ka:盐雾 GB/T 2423.17-2008/IEC 60068-2-11:1981 |  |
| 1 | 汽车电气设备 | 10 | 介电性能 | 低压开关设备和控制设备 第1部分：总则 GB 14048.1-2012 |  |
|  |  | 11 | 外壳防护等级 | 低压开关设备和控制设备 第1部分：总则 GB 14048.1-2012 |  |
|  |  |  |  | 外壳防护等级（IP代码） GB 4208-2008/IEC 60529:2001 |  |
|  |  | 12 | 电气干扰 | 道路车辆 由传导和耦合引起的电骚扰 第2部分：沿电源线的电瞬态传导 GB/T 21437.2-2008 | 不测脉冲4、脉冲5 |
|  |  |  |  | 道路车辆 由传导和耦合引起的电骚扰 第2部分：沿电源线的电瞬态传导 ISO 7637-2：2011 |  |
|  |  | 13 | 部分参数 | 汽车电器设备基本技术条件 QC/T 413-2002 | 只测噪声级、防护性能、耐温度性能、耐温度/湿度循环变化性能、耐振动性能、耐盐雾性能 |
| 2 | 汽车用开关 | 部分参数 |  | 汽车用开关通用技术条件 QC/T 198-2014 | 不测电磁兼容性能、有害物质含量、阻燃性要求、耐流动混合气体腐蚀试验、耐久性能 |
| 3 | 组合开关 | 全部参数 |  | 汽车用转向管柱上组合开关技术条件 QC/T 218-1996 |  |
| 4 | 翘板开关 | 全部参数 |  | 汽车用翘板式开关技术条件 QC/T 632-2000 |  |
| 5 | 带点火开关转向锁 | 全部参数 |  | 汽车用带点火开关的转向锁 QC/T 628-1999 |  |
| 6 | 仪表灯开关 | 全部参数 |  | 汽车用仪表灯开关技术条件 QC/T 506-1999 |  |
| 7 | 汽车用车灯开关 | 全部参数 |  | 汽车用车灯开关技术条件 QC/T 505-1999 |  |
| 8 | 点火开关 | 全部参数 |  | 汽车用点火开关技术条件 QC/T 504-1999 |  |
| 9 | 机动车用喇叭 | 全部参数 |  | 机动车用喇叭的性能要求及试验方法 GB 15742-2001 |  |
|  |  | 部分参数 |  | 机动车用电喇叭技术条件 QC/T 30-2004 | 不测电磁兼容性 |
| 10 | 通用继电器 | 部分参数 |  | 汽车通用继电器 QC/T 695-2002 | 不测阻燃性能 |
| 11 | 喇叭继电器 | 全部参数 |  | 喇叭继电器技术条件 QC/T 419-1999 |  |
| 12 | 直流电机 | 1 | 绝缘电阻 | 直流电机试验方法 GB/T 1311-2008 |  |
|  |  | 2 | 冷态直流电阻 |  |  |
|  |  | 3 | 空载特性 |  |  |
| 12 | 直流电机 | 4 | 额定负载试验 | 直流电机试验方法 GB/T 1311-2008 |  |
|  |  | 5 | 热试验 |  |  |
|  |  | 6 | 效率 |  |  |
|  |  | 7 | 短时过转矩试验 |  |  |
|  |  | 8 | 转速特性 |  |  |
|  |  | 9 | 超速试验 |  |  |
|  |  | 10 | 短时升高电压 |  |  |
|  |  | 11 | 耐电压试验 |  |  |
| 13 | 刮水电机 | 全部参数 |  | 汽车用刮水电动机技术条件 QC/T 29090-1992 |  |
| 14 | 刮水器总成 | 部分参数 |  | 汽车风窗玻璃刮水器和洗涤器性能要求和试验方法 GB 15085-2013 | 不测洗涤器 |
|  |  |  |  | 汽车风窗玻璃电动刮水器 QC/T 44-2009 | 不测耐高温、耐低温、耐振性、电磁兼容性 |
| 15 | 暖风电机 | 全部参数 |  | 汽车用暖风电动机技术条件 QC/T 29092-1992 |  |
| 16 | 汽车用制动衬片 | 全部参数 |  | 汽车用制动器衬片 GB 5763-2008 |  |
| 17 | 汽车门锁及车门保持件 | 部分参数 |  | 汽车门锁及车门保持件的性能要求和试验方法 GB 15086-2013 | 不测门锁惯性载荷、滑动式车门门锁及保持件、门锁的锁止装置 |
|  |  |  |  | 汽车门锁和车门保持件 QC/T 323-2007 | 不测门锁惯性载荷、滑动门保持件性能 |
| 18 | 汽车后视镜 | 部分参数 |  | 机动车辆后视镜的性能和安装要求 GB 15084-2013 | 不测视镜外的间接视野装置、安装要求 |
| 18 | 汽车后视镜 | 部分参数 | 部分参数 | 汽车后视镜 QC/T 531-2001 | 不测耐候性 |
| 19 | 摩托车后视镜 | 全部参数 |  | 摩托车和轻便摩托车后视镜及其安装要求 GB 17352-2010 |  |
| 20 | 汽车玻璃升降器 | 全部参数 |  | 汽车玻璃升降器 QC/T 626-2008 |  |
| 21 | 汽车电动玻璃升降器 | 全部参数 |  | 汽车电动玻璃升降器 QC/T 636-2014 |  |
| 22 | 汽车用有刷电动燃油泵 | 部分参数 |  | 汽车电动燃油泵 第1部分：有刷电动燃油泵GB/T 25984.1-2010 | 不测拧紧力矩、低压线束、电磁骚扰 |
| 23 | 机油滤清器 | 1 | 压差-流量特性 | 内燃机全流式机油滤清器试验方法 第1部分：压差-流量特性GB/T 8243.1-2003/ISO 4548:1-1997 |  |
|  |  |  |  | 机油滤清器试验方法SAE HS806-2009 |  |
|  |  | 2 | 滤芯旁通元件特性 | 内燃机全流式机油滤清器试验方法 第2部分：滤芯旁通阀特性GB/T 8243.2-2003/ISO 4548:2-1997 |  |
|  |  |  |  | 机油滤清器试验方法SAE HS806-2009 |  |
|  |  | 3 | 高压降特性 | 内燃机全流式机油滤清器试验方法 第3部分：耐高压差和耐高温特性GB/T 8243.3-2003/ISO 4548:3-1997 |  |
|  |  | 4 | 高温特性 |  |  |
| 23 | 机油滤清器 | 5 | 原始滤清效率 | 内燃机全流式机油滤清器试验方法 第4部分：原始滤清效率、寿命和累积效率(重量法) GB/T 8243.4-2003/ISO 4548:4-1997 |  |
|  |  | 6 | 寿命和累计效率 |  |  |
|  |  | 7 | 冷起动模拟试验 | 内燃机全流式机油滤清器试验方法 第5部分：冷起动模拟和液压脉冲耐久试验GB/T 8243.5-2006/ISO 4548:5-1990 |  |
| 23 | 机油滤清器 | 8 | 液压脉冲耐久试验 | 内燃机全流式机油滤清器试验方法 第5部分：冷起动模拟和液压脉冲耐久试验GB/T 8243.5-2006/ISO 4548:5-1990 |  |
|  |  | 9 | 静压耐破度 | 内燃机全流式机油滤清器试验方法 第6部分：冷压耐破度试验GB/T 8243.6-2006/ISO 4548:6-1985 |  |
|  |  | 10 | 进口和出口止回阀试验 | 内燃机全流式机油滤清器试验方法 第9部分：进、出口止回阀试验 GB/T 8243.9-2012/ISO 4548:9-1995 |  |
|  |  |  |  | 机油滤清器试验方法SAE HS806-2009 |  |
|  |  | 11 | 全流滤清器的容尘能力 | 机油滤清器试验方法SAE HS806-2009 |  |
|  |  | 12 | 全流滤清器的过滤特性 |  |  |
|  |  | 13 | 清洁度 | 机油滤清器试验方法SAE HS806-2009 |  |
|  |  |  |  | 中小功率内燃机清洁度测定方法GB/T 3821-2005 |  |
|  |  | 14 | 机油中水对滤清器性能影响 | 机油滤清器试验方法SAE HS 806-2009 |  |
|  |  | 15 | 旋装滤清器密封垫片的低温密封性 | 机油滤清器试验方法SAE HS 806-2009 |  |
|  |  | 16 | 滤清效率 | 内燃机全流式机油滤清器试验方法 第12部分：采用颗粒计数法测定滤清效率和容灰量GB/T 8243.12-2007/ISO 4548:12-2000 |  |
|  |  | 17 | 容灰量 |  |  |
| 24 | 旋装式机油滤清器 | 全部参数 |  | 内燃机 旋装式机油滤清器 第2部分：试验方法JB/T 5088.2-2008 |  |
| 24 | 旋装式机油滤清器 | 全部参数 | 全部参数 | 内燃机 旋装式机油滤清器 第1部分：技术条件JB/T 5088.1-2008 |  |
| 25 | 机油滤清器总成 | 全部参数 |  | 内燃机纸质滤芯机油滤清器 第3部分：试验方法JB/T 5089.3-2010 |  |
|  |  |  |  | 内燃机 纸质滤芯机油滤清器 第1部分:总成 技术条件JB/T 5089.1-2010 |  |
| 26 | 机油滤清器滤芯 | 全部参数 |  | 内燃机纸质滤芯机油滤清器 第3部分：试验方法JB/T 5089.3-2010 |  |
|  |  |  |  | 内燃机 纸质滤芯机油滤清器 第2部分：滤芯 技术条件JB/T 5089.2-2010 |  |
| 27 | 柴油滤清器 | 1 | 密封性 | 汽车用柴油滤清器试验方法QC/T 772-2006 |  |
|  |  |  |  | 柴油滤清器试验方法SAE J905-2009 |  |
|  |  |  |  | 汽车柴油机纸质滤芯柴油细滤器总成技术条件QC/T 771-2006 |  |
|  |  | 2 | 清洁度 | 汽车用柴油滤清器试验方法QC/T 772-2006 |  |
|  |  |  |  | 柴油滤清器试验方法SAEJ905-2009 |  |
|  |  |  |  | 道路车辆-柴油机用燃油滤清器试验方法ISO 4020-2001 |  |
|  |  |  |  | 汽车柴油机纸质滤芯柴油细滤器总成技术条件QC/T 771-2006 |  |
|  |  | 3 | 原始阻力 (流量阻力) | 汽车用柴油滤清器试验方法QC/T 772-2006 |  |
|  |  |  |  | 柴油滤清器试验方法SAEJ905-2009 |  |
|  |  |  |  | 道路车辆-柴油机用燃油滤清器试验方法ISO 4020-2001 |  |
|  |  |  |  | 汽车柴油机纸质滤芯柴油细滤器总成技术条件QC/T 771-2006 |  |
| 27 | 柴油滤清器 | 4 | 原始滤清效率 | 汽车用柴油滤清器试验方法QC/T 772-2006 |  |
| 27 | 柴油滤清器 | 4 | 原始滤清效率 | 汽车柴油机纸质滤芯柴油细滤器总成技术条件QC/T 771-2006 |  |
|  |  | 5 | 储灰能力 | 汽车用柴油滤清器试验方法QC/T 772-2006 |  |
|  |  |  |  | 柴油滤清器试验方法SAE J905-2009 |  |
|  |  |  |  | 汽车柴油机纸质滤芯柴油细滤器总成技术条件QC/T 771-2006 |  |
|  |  | 6 | 瞬间过滤效率和寿命 | 道路车辆-柴油机用燃油滤清器试验方法ISO 4020-2001 |  |
|  |  | 7 | 水分离效率 (游离水) | 汽车用柴油滤清器试验方法QC/T 772-2006 |  |
|  |  |  |  | 游离水/燃油分离试验方法SAE J1839-2010 |  |
|  |  |  |  | 汽车柴油机纸质滤芯柴油细滤器总成技术条件QC/T 771-2006 |  |
|  |  | 8 | 水分离效率 (乳化水) | 分离燃油中乳化水的试验方法SAE J1488-2010 |  |
|  |  | 9 | 滤芯耐压性能 | 汽车用柴油滤清器试验方法QC/T 772-2006 |  |
|  |  |  |  | 柴油滤清器试验方法SAE J905-2009 |  |
|  |  |  |  | 道路车辆-柴油机用燃油滤清器试验方法ISO 4020-2001 |  |
|  |  |  |  | 汽车柴油机纸质滤芯柴油细滤器总成技术条件QC/T 771-2006 |  |
|  |  | 10 | 总成耐破损性能 | 汽车用柴油滤清器试验方法QC/T 772-2006 |  |
|  |  |  |  | 柴油滤清器试验方法SAE J905-2009 |  |
|  |  |  |  | 道路车辆-柴油机用燃油滤清器试验方法ISO 4020-2001 |  |
|  |  |  |  | 汽车柴油机纸质滤芯柴油细滤器总成技术条件QC/T 771-2006 |  |
| 27 | 柴油滤清器 | 11 | 总成耐液力脉冲疲劳性能 | 汽车用柴油滤清器试验方法QC/T 772-2006 |  |
|  |  |  |  | 柴油滤清器试验方法SAE J905-2009 |  |
|  |  |  |  | 道路车辆-柴油机用燃油滤清器试验方法ISO 4020-2001 |  |
|  |  |  |  | 汽车柴油机纸质滤芯柴油细滤器总成技术条件QC/T 771-2006 |  |
|  |  | 12 | 环境适应能力(水对容尘能力影响) | 柴油滤清器试验方法SAE J905-2009 |  |
|  |  | 13 | 真空度试验 | 柴油滤清器试验方法SAE J905-2009 |  |
|  |  | 14 | 原油中含水量测定 | 原油水含量测定 卡尔·费休库仑滴定法GB/T 11146-2009 |  |
|  |  | 15 | 采用粒子计数法测定滤清效率和杂质储存能力 | 内燃机柴油滤清器和汽油滤清器-采用粒子计数法测定滤清器和杂质储存能力ISO 19438-2003 |  |
| 28 | 旋装式柴油滤清器 | 全部参数 |  | 柴油机 柴油滤清器 第4部分：试验方法JB/T 5239.4-2011 |  |
|  |  |  |  | 旋装式柴油滤清器 技术条件JB/T 5241-2006 |  |
| 29 | 柴油机柴油滤清器总成 | 全部参数 |  | 柴油机 柴油滤清器 第4部分：试验方法JB/T 5239.4-2011 |  |
|  |  |  |  | 柴油机 柴油滤清器 第1部分：纸质滤芯总成 技术条件JB/T 5239.1-2008 |  |
| 30 | 柴油机柴油滤清器滤芯 | 全部参数 |  | 柴油机 柴油滤清器 第4部分：试验方法JB/T 5239.4-2011 |  |
|  |  |  |  | 柴油机 柴油滤清器 第2部分：纸质滤芯 技术条件JB/T 5239.2-2008 |  |
| 31 | 汽车电喷汽油机汽油滤清器总成 | 部分参数 | 部分参数 | 汽车用汽油滤清器试验方法QC/T 918-2013 | 不测总成耐振动疲劳性能 |
|  |  |  |  | 汽车电喷汽油机汽油滤清器总成技术条件QC/T 48-2013 |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

SCHEDULE OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L2786)

NAME:Rui’an Institute of Testing For Quality and Technical Supervision

ADDRESS:Libeiyang, Luofeng Sub-District, Tangxia, Ruian, Zhejiang, China

Accreditation Criteria: ISO/IEC 17025 and relevant requirements of CNAS

Date of Issue:2016-08-15                      Date of Expiry:2018-06-17

SCHEDULE 3  ACCREDITED TESTING SCOPE

| № | Test Object | Item/Parameter | Standard or Method | Note |
| --- | --- | --- | --- | --- |
|  |  | № | Item/ Parameter |  |  |
| 1 | Electric equipments for Motor vehicles | 1 | Noise test | Measurement of the airborne noise emitted by rotating electrical machines and the noise limits Part 1:Method of the measurement of airborne noise emitted by rotating electrical machines GB/T 10069.1-2006/IEC 60068-2-1:2007 |  |
|  |  | 2 | Low-temperature test | Environmental testing for electric and electronic products-Part 2:Test mehtod-Test A: Cold GB/T 2423.1-2008 | only for ≥-60℃ |
|  |  | 3 | high-temperature test | Environmental testing for electric and electronic products-Part 2:Test mehtod-Test B: Dry heat GB/T 2423.2-2008/IEC 60068-2-2:2007 | only for ≤90℃ |
| 1 | Electric equipments for Motor vehicles | 4 | Change of temperature test | Environmental testing. Part 2:Test methods. Test N:Change of temperature GB/T 2423.22-2012/IEC60068-2-14:2009 | the temperature change range of -60℃~90℃ |
| 1 | Electric equipments for Motor vehicles | 5 | Composite temperature/humidity cyclic test | Environmental testing. Part 2:Test methods. Test Z/AD:Composite temperature/humidity cyclic test GB/T 2423.34-2012/IEC 60068-2-38:2009 |  |
|  |  | 6 | Constant damp heat test | Environmental testing for electric and electronic products. Part 2:Testing method. Test Cab:Damp heat,steady state GB/T 2423.3-2006 |  |
|  |  |  |  | Environmental testing.Part 2-14: Tests.Test Cab: Damp heat IEC 60068-2-78:2012 |  |
|  |  | 7 | Cyclic damp heat test | Environmental testing for electric and electronic products-Part 2:Test mehtod-Test Db: Damp heat,cyclic(12h+12h cycle) GB/T 2423.4-2008/IEC 60068-2-30:2005 |  |
| 1 | Electric equipments for Motor vehicles | 8 | Vibration test | Environmental testing for electric and electronic products-Part 2:Tests methods Test Fc: Vibration(sinusoidal) GB/T 2423.10-2008 |  |
|  |  |  |  | Environmental testing for electric and electronic products-Part 2:Test methods-Test Fh:Vibration,broad-band random(digital control)and guidance GB/T 2423.56-2006 |  |
|  |  |  |  | Environmental testing.Part 2-6: Test Fc: Vibration (sinusoidal) IEC 60068-2-6:2007 |  |
|  |  |  |  | Environmental testing.Part 2-64: Tests.Test Fh: Vibration, broadband random and guidance IEC 60068-2-64:2008 |  |
|  |  | 9 | Salt mist test | Corrosion tests in artificial atmospheres-Salt spray tests GB/T 10125-2012 |  |
| 1 | Electric equipments for Motor vehicles | 9 | Salt mist test | Methods for corrosion testing of metallic and other inorganic coatings on metallic substrates –Rating of test specimens and manufactured articles subjected to corrosion tests GB/T 6461-2002 |  |
|  |  |  |  | Metallic coatings and conversion coatings for automobile QC/T 625-2013 |  |
|  |  |  |  | Corrosion-resistant testing method of the metal deposits and conversion coatings for the light industrial products Copper accelerated salt spray test(CASS) QB/T 3828-1999 |  |
|  |  |  |  | Corrosion-resistant testing method of the metal deposits and conversion coatings for the light industrial products Acetic salt spraying test (ASS) QB/T 3827-1999 |  |
| 1 | Electric equipments for Motor vehicles | 9 | Salt mist test | Corrosion-resistant testing method of the metal deposits and conversion coatings for the light industrial products Neutral salt spraying test (NSS) QB/T 3826-1999 |  |
|  |  |  |  | Environmental testing for electric and electronic products.Part 2:Test. mehtod-Test Ka: Salt mist GB/T 2423.17-2008/IEC 60068-2-11:1981 |  |
|  |  | 10 | Dielectric strength test | Low-voltage switchgear and controlgear-Part 1:General rules GB14048.1-2012 |  |
|  |  | 11 | Shell protection class | Low-voltage switchgear and controlgear-Part 1:General rules GB 14048.1-2012 |  |
| 1 | Electric equipments for Motor vehicles | 11 | Shell protection class | Degress of protection provided by enclosure （IP code） GB 4208-2008/IEC 60529:2001 |  |
|  |  | 12 | Electrical transient | Road vehicles-Electrical disturbances from conduction and coupling-Part 2:Electrical rtansient conduction along supply lines only GB/T 21437.2-2008 | Expected for pulse 4,pulse 5 |
| 1 | Electric equipments for Motor vehicles | 12 | Electrical transient | Road vehicles — Electrical disturbances from conduction and coupling — Part 2 Electrical transient conduction along supply lines only ISO 7637-2：2011 |  |
|  |  | 13 | Part of Parameters | Motor vehicles-Electric equipments - Basic technical requirements QC/T 413-2002 | Only for Noise level、Protection performance 、Temperature and humidity cycling resistance properties、Vibration resistance performance 、Salt spray resistance |
| 2 | automotive switch | Part of Parameters |  | General technical specification for automotive switch QC/T 198-2014 | Expected for Electromagnetic compatibility、The content of harmful substances、Flame retardant requirements、Resistance to flowing mixed gas corrosion test、Durability |
| 3 | Combination switch | All Parameters |  | Motor vehicles-Combination switch on steering column - Technical requirements QC/T 218-1996 |  |
| 4 | Rocker switches | All Parameters |  | Motor vehicles －Rocker Switches－Technical requirements QC/T 632-2000 |  |
| 5 | Steering locks with ignition switch | All Parameters |  | Motor vehicles-Steering locks with ignition switch QC/T 628-1999 |  |
| 6 | Meter lamp switch | All Parameters |  | Motor vehicles-Meter lamp switch - Technical requirements QC/T 506-1999 |  |
| 7 | Motor vehicles used Lamp switch | All Parameters |  | Motor vehicles-Lamp switch - Technical requirements QC/T 505-1999 |  |
| 8 | Ignition switch | All Parameters | All Parameters | Motor vehicles-Ignition switch –Technical requirements QC/T 504-1999 |  |
| 9 | Automobile horn | All Parameters |  | Automobile- Electric horn- Performance requirements and test methods GB 15742-2001 |  |
|  |  | Part of Parameters |  | Technical specification of electric horn for motor vehicles QC/T 30-2004 | Expected for EMC |
| 10 | General relay | Part of Parameters |  | General relay for motor vehicles QC/T 695-2002 | Expected for Flame retardant properties |
| 11 | Horn relay | All Parameters |  | Technical requirements of horn relay QC/T 419-1999 |  |
| 12 | direct current machines | 1 | Insulation resistance | Test procedure for direct current machines GB/T 1311-2008 |  |
|  |  | 2 | Cold resistance |  |  |
|  |  | 3 | No-load characteristics |  |  |
|  |  | 4 | Rated load test |  |  |
|  |  | 5 | Temperature rise test |  |  |
| 12 | direct current machines | 6 | Efficiency test | Test procedure for direct current machines GB/T 1311-2008 |  |
|  |  | 7 | Over torque test |  |  |
|  |  | 8 | Speed characteristic |  |  |
|  |  | 9 | Overspeed test |  |  |
|  |  | 10 | Voltage test |  |  |
|  |  | 11 | Withstand voltage test |  |  |
| 13 | Wiper motor | All Parameters |  | Motor vehicles-Wiper motor-Technical requirements QC/T 29090-1992 |  |
| 14 | Wiper Scrubber-Performance | Part of Parameters |  | Automobile Wind Windowpane Wiper Scrubber-Performance Requirement and Test Method GB/T 15085-2013 | Expected for Wiper Scrubber |
|  |  |  |  | Vehicle-windshield Window Wiper of motor QC/T 44-2009 | Expected for High temperature、 Low temperature、Vibration test、EMC |
| 15 | Heater motor | All Parameters |  | Motor vehicles-Heater motor-Technical requirements QC/T 29092-1992 |  |
| 16 | Automobile Braker Gasket | All Parameters | All Parameters | Automobile Braker Gasket GB 5763-2008 |  |
| 17 | Door locks and door retention | Part of Parameters |  | Motor vehicles - Door locks and door retention components - Performance requirements and test methods GB 15086-2013 |  |
|  |  |  |  | Motor vehicles- Door locks and door retention components QC/T 323-2007 |  |
| 18 | Automobile Rear View Mirrors | Part of Parameters |  | Motor vehicles-Rear view mirrors-Requirements of performance and installation GB15084-2013 | Except for devices for indirect vision, installation requirements |
| 18 | Automobile Rear View Mirrors | Part of Parameters |  | Automobile Rear View Mirrors QC/T 531-2001 | Except for Weather resistance |
| 19 | Motorcycle Rear View Mirrors | All Parameters |  | Motorcycles and mopeds rear-view-mirrors requirement of performance and installation GB 17352-2010 |  |
| 20 | Motor vehicles-Window lift | All Parameters |  | Motor vehicles-Window lift QC/T 626-2008 |  |
| 21 | Motor vehicles-Electric window lift | All Parameters |  | Motor vehicles-Electric window lift QC/T 636-2014 |  |
| 22 | Brush's eletric fuel pump | Part of item | Part of item | Automobiles electric fuel pump-Part 1: Brush's eletric fuel pump GB/T 25984.1-2010 | Expected for Tightening torque，Low-voltage electrical wiring harness and EMC |
| 23 | Oil filter | 1 | Differential pressure/flow characteristics | Methods of test for full-flow lubricating oil filters for interal combustion engines-part1:Differential pressure/flow characteristics GB/T 8243.1-2003/ISO 4548:1-1997 |  |
|  |  |  |  | Oil Test Procedure SAE HS-806-2009 |  |
|  |  | 2 | Element by-pass value characteristics | Methods of test for full-flow lubricating oil filters for interal combustion engines-part2:Element by-pass value characteristics GB/T 8243.2-2003/ISO 4548:2-1997 |  |
|  |  |  |  | Oil Test Procedure SAE HS-806-2009 |  |
|  |  | 3 | Resistance to high differential pressure | Methods of test for full-flow lubricating oil filters for interal combustion engines-part 3:Resistance to high differential pressure and to elevated temperature GB/T 8243.3-2003/ISO 4548:3-1997 |  |
|  |  | 4 | To elevated temperature |  |  |
| 23 | Oil filte | 5 | Initial particle retention efficiency | Methods of test for full-flow lubricating oil filters for interal combustion engines-part 4:Initial particle retention efficiency,life,and cumulative efficiency(gravimetric method) GB/T 8243.4-2003/ISO 4548:4-1997 |  |
| 23 | Oil filte | 6 | Life,and cumulative efficiency(grav-imetric method) | Methods of test for full-flow lubricating oil filters for interal combustion engines-part 4:Initial particle retention efficiency,life,and cumulative efficiency(gravimetric method) GB/T 8243.4-2003/ISO 4548:4-1997 |  |
|  |  | 7 | Cold start simulation | Methods of test for full-flow lubricating oil filters for interal combustion engines-part 5:Cold start simulation and hydraulic pulse durability test GB/T 8243.5-2006/ISO 4548:5-1990 |  |
|  |  | 8 | Hydraulic pulse durability test |  |  |
|  |  | 9 | Static bust pressure test | Methods of test for full-flow lubricating oil filters for interal combustion engines-part 6:Static bust pressure test GB/T 8243.6-2006/ISO 4548:6-1985 |  |
| 23 | Oil filte | 10 | Inlet and outlet anti-drain values test | Methods of test for full-flow lubricating oil filters for interal combustion engines-part 9:Inlet and outlet anti-drain values test GB/T 8243.9-2012/ISO 4548:9-1995 |  |
|  |  |  |  | Oil Test Procedure SAE HS-806-2009 |  |
|  |  | 11 | Filter Capacity Characteristics of Full-Flow Filters | Oil Test Procedure SAE HS-806-2009 |  |
| 23 | Oil filte | 12 | Contaminant Removal Characteristics of Full-Flow Filters | Oil Test Procedure SAE HS-806-2009 |  |
|  |  | 13 | Media Migration Test | Oil Test Procedure SAE HS-806-2009 |  |
|  |  |  |  | Determination of cleanliness for small and medium power internal combustion engines GB/T 3821-2005 |  |
| 23 | Oil filter | 14 | Test Method for Effect of Water in the Oil on Filter Capacity | Oil Test Procedure SAE HS-806-2009 |  |
|  |  | 15 | Low-Temperature Sealing Characteristics of Spin-On Oil Filter Sealing Gaskets | Oil Test Procedure SAE HS-806-2009 |  |
|  |  | 16 | Filtration efficiency | Methods of test for full-flow lubricating oil filters for internal combustion engines -- Part 12: Filtration efficiency using particle counting and contaminant retention capacity GB/T 8243.12-2007/ISO 4548:12-2000 |  |
| 23 | Oil filter | 17 | Contaminant retention capacity | Methods of test for full-flow lubricating oil filters for internal combustion engines -- Part 12: Filtration efficiency using particle counting and contaminant retention capacity GB/T 8243.12-2007/ISO 4548:12-2000 |  |
| 24 | Spin-on oil filter | All Parameters |  | Internal combustion engines — spin-on oil filters — Part 2: Test method JB/T5088.2-2008 |  |
|  |  |  |  | Internal combustion engines — spin-on oil filters — Part 1:Specification JB/T5088.1-2008 |  |
| 25 | Oil filter assemblies | All Parameters |  | Internal combustion engines — Paper- element oil filters — Part 3: test method JB/T 5089.3-2010 |  |
|  |  |  |  | Internal combustion engines — Paper- element oil filters — Part 1:Assemblies— Specification JB/T 5089.1-2008 |  |
| 26 | Elements of oil filters | All Parameters |  | Internal combustion engines — Paper- element oil filters — Part 3: test method JB/T 5089.3-2010 |  |
|  |  |  |  | Internal combustion engines — Paper- element oil filters — Part 2: Elements— Speeification JB/T 5089.2-2010 |  |
| 27 | Fuel Filter | 1 | Seal Test | Test method of diesel-fuel filter for automobiles QC/T 772-2006 |  |
|  |  |  |  | Fuel Filter Test Methods SAE J905-2009 |  |
| 27 | Fuel Filter | 1 | Seal Test | Specification fo diesel-fuel fine assembly with paper element for automotive diesels QC/T 771-2006 |  |
|  |  | 2 | Media Migration Test | Test method of diesel-fuel filter for automobiles QC/T 772-2006 |  |
|  |  |  |  | Fuel Filter Test Methods SAE J905-2009 |  |
|  |  |  |  | Road vehicles - Fuel filters for diesel engines - Test methods ISO 4020-2001 |  |
|  |  |  |  | Specification fo diesel-fuel fine assembly with paper element for automotive diesels QC/T 771-2006 |  |
| 27 | Fuel Filter | 3 | Resistance to Flow | Test method of diesel-fuel filter for automobiles QC/T 772-2006 |  |
|  |  |  |  | Fuel Filter Test Methods SAE J905-2009 |  |
|  |  |  |  | Road vehicles - Fuel filters for diesel engines - Test methods ISO 4020-2001 |  |
|  |  |  |  | Specification fo diesel-fuel fine assembly with paper element for automotive diesels QC/T 771-2006 |  |
|  |  | 4 | Primal Efficiency Test | Test method of diesel-fuel filter for automobiles QC/T 772-2006 |  |
|  |  |  |  | Specification fo diesel-fuel fine assembly with paper element for automotive diesels QC/T 771-2006 |  |
| 27 | Fuel Filter | 5 | Contaminant Retention Capacity | Test method of diesel-fuel filter for automobiles QC/T 772-2006 |  |
|  |  |  |  | Fuel Filter Test Methods SAE J905-2009 |  |
|  |  |  |  | Specification fo diesel-fuel fine assembly with paper element for automotive diesels QC/T 771-2006 |  |
| 27 | Fuel Filter | 6 | filtration efficiency and filter life | Road vehicles - Fuel filters for diesel engines - Test methods ISO 4020-2001 |  |
|  |  | 7 | Coarse Droplet Water/Fuel Separation | Test method of diesel-fuel filter for automobiles QC/T 772-2006 |  |
|  |  |  |  | Coarse Droplet Water/Fuel Separation Test Procedure SAE J1839-2010 |  |
|  |  |  |  | Specification fo diesel-fuel fine assembly with paper element for automotive diesels QC/T 771-2006 |  |
|  |  | 8 | Emulsified Water/Fuel Separation | Emulsified Water/Fuel Separation Test Procedure SAE J1488-2010 |  |
|  |  | 9 | Collapse/burst pressure of filter element | Test method of diesel-fuel filter for automobiles QC/T 772-2006 |  |
|  |  |  |  | Fuel Filter Test Methods SAE J905-2009 |  |
| 27 | Fuel Filter | 9 | Collapse/burst pressure of filter element | Road vehicles - Fuel filters for diesel engines - Test methods ISO 4020-2001 |  |
|  |  |  |  | Specification fo diesel-fuel fine assembly with paper element for automotive diesels QC/T 771-2006 |  |
| 27 | Fuel Filter | 10 | Burst pressure of complete filter | Test method of diesel-fuel filter for automobiles QC/T 772-2006 |  |
|  |  |  |  | Fuel Filter Test Methods SAE J905-2009 |  |
|  |  |  |  | Road vehicles - Fuel filters for diesel engines - Test methods ISO 4020-2001 |  |
|  |  |  |  | Specification fo diesel-fuel fine assembly with paper element for automotive diesels QC/T 771-2006 |  |
|  |  | 11 | Pulsating pressure fatigue test | Test method of diesel-fuel filter for automobiles QC/T 772-2006 |  |
|  |  |  |  | Fuel Filter Test Methods SAE J905-2009 |  |
|  |  |  |  | Road vehicles - Fuel filters for diesel engines - Test methods ISO 4020-2001 |  |
|  |  |  |  | Specification fo diesel-fuel fine assembly with paper element for automotive diesels QC/T 771-2006 |  |
| 27 | Fuel Filter | 12 | the Effect of Water in Fuel on Filter Capacity | Fuel Filter Test Methods SAE J905-2009 |  |
|  |  | 13 | Vacuum Test | Fuel Filter Test Methods SAE J905-2009 |  |
|  |  | 14 | Crude petroleum-Determanation of water | Crude petroleum-Determanation of water-Coulometric Karl Fischer titration method GB/T 11146-2009 |  |
|  |  | 15 | Filtration efficiency using particle counting and contaminant retention capacity | Diesel fuel and petrol filters for internal combustion engines - Filtration efficiency using particle counting and contaminant retention capacity ISO 19438-2003 |  |
| 28 | Spin-on diesel filters | All Parameters |  | Diesel engines—Diesel filters—Part 4:test method JB/T 5239.4-2011 |  |
|  |  |  |  | Spin-on diesel filters — Specification JB/T 5241-2006 |  |
| 29 | Diesel filter assemblies of Diesel engines | All Parameters |  | Diesel engines—Diesel filters—Part 4:test method JB/T 5239.4-2011 |  |
|  |  |  |  | Diesel engines — Diesel filters— Part 1： Paper element assembly — Specification JB/T 5239.1-2008 |  |
| 30 | Diesel filter Elements of Diesel engines | All Parameters | All Parameters | Diesel engines—Diesel filters—Part 4:test method JB/T 5239.4-2011 |  |
|  |  |  |  | Diesel engines — Diesel filters— Part 2： Paper elements — Specification JB/T5239.2-2008 |  |
| 31 | Gasoline filter | Part of Parameters |  | Test methods of petrol filter foe automobiles QC/T 918-2013 | Except for Vibration test |
|  |  |  |  | Specifications of petrol filter assembly for automotive engines with electronically controlled petrol injection system QC/T 48-2013 |  |

中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L2786）

名称:瑞安市质量技术监督检测研究院

地址：浙江省瑞安市塘下镇罗凤办事处里北垟村

认可依据：ISO/IEC 17025以及CNAS特定认可要求

签发日期：2016年08月15日     有效期至：2018年06月17日

附件4  认可的实验室判定标准一览表

| 序号 | 产品名称 | 判定标准 | 说明 |
| --- | --- | --- | --- |
| 1 | 仪表灯开关 | 汽车用仪表灯开关技术条件 QC/T 506-1999 |  |
| 2 | 汽车用车灯开关 | 汽车用车灯开关技术条件 QC/T 505-1999 |  |
| 3 | 点火开关 | 汽车用点火开关技术条件 QC/T 504-1999 |  |
| 4 | 机油滤清器总成 | 内燃机 纸质滤芯机油滤清器 第1部分:总成 技术条件JB/T 5089.1-2010 |  |
| 5 | 机油滤清器滤芯 | 内燃机 纸质滤芯机油滤清器 第2部分：滤芯 技术条件JB/T 5089.2-2010 |  |
| 6 | 旋装式机油滤清器 | 内燃机 旋装式机油滤清器 第1部分：技术条件JB/T 5088.1-2008 |  |
| 7 | 旋装式柴油滤清器 | 旋装式柴油滤清器 技术条件JB/T 5241-2006 |  |
| 8 | 柴油机柴油滤清器总成 | 柴油机 柴油滤清器 第1部分：纸质滤芯总成 技术条件JB/T 5239.1-2008 |  |
| 9 | 柴油机柴油滤清器滤芯 | 柴油机 柴油滤清器 第2部分：纸质滤芯 技术条件JB/T 5239.2-2008 |  |
| 10 | 汽车电喷汽油机汽油滤清器总成 | 汽车电喷汽油机汽油滤清器总成技术条件QC/T 48-2013 |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

SCHEDULE OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L2786)

NAME:Rui’an Institute of Testing For Quality and Technical Supervision

ADDRESS:Libeiyang, Luofeng Sub-District, Tangxia, Ruian, Zhejiang, China

Accreditation Criteria: ISO/IEC 17025 and relevant requirements of CNAS

Date of Issue:2016-08-15                      Date of Expiry:2018-06-17

SCHEDULE 4  REFERENCE OF STANDARDS

| №. | Product | Standard | Note |
| --- | --- | --- | --- |
| 1 | Meter lamp switch | Motor vehicles-Meter lamp switch - Technical requirements QC/T 506-1999 |  |
| 2 | Motor vehicles used Lamp switch | Motor vehicles-Lamp switch - Technical requirements QC/T 505-1999 |  |
| 3 | Ignition switch | Motor vehicles-Ignition switch –Technical requirements QC/T 504-1999 |  |
| 4 | Oil filter assemblies | Internal combustion engines — Paper- element oil filters — Part 1:Assemblies— Specification JB/T 5089.1-2008 |  |
| 5 | Elements of oil filters | Internal combustion engines — Paper- element oil filters — Part 2: Elements— Speeification JB/T 5089.2-2010 |  |
| 6 | Spin-on oil filter | Internal combustion engines — spin-on oil filters — Part 1:Specification JB/T5088.1-2008 |  |
| 7 | Spin-on diesel filters | Spin-on diesel filters — Specification JB/T 5241-2006 |  |
| 8 | Diesel filter assemblies of Diesel engines | Diesel engines — Diesel filters— Part 1： Paper element assembly — Specification JB/T 5239.1-2008 |  |
| 9 | Diesel filter Elements of Diesel engines | Diesel engines — Diesel filters— Part 2： Paper elements — Specification JB/T5239.2-2008 |  |
| 10 | Gasoline filter | Specifications of petrol filter assembly for automotive engines with electronically controlled petrol injection system QC/T 48-2013 |  |